S10_Bioaugmentation: Formulae

- Method 1:

- Amt of solids lbsdfor the first 2 to 4 days= Qi MGD . Dosage mgL . 8.34

where,

Qi : Influent flow to Aeration Basin (MGD) = Primary Effluent Flow – Diverted Flow

- Amt of solids lbsdfor the next 2 to 4 days= 0.5 .  Amt of solids lbsdfor the first 2 to 4 days

- Amt of solids lbsdfor the remaining days = 0.5 .  Amt of solids lbsdfor the next 2 to 4 days

- Method 2:

- Amt of solids lbsdfor all 4 days= Vol of Aeration Basin gal . 10-6 . Dosage mgL . 8.34