## Obsv 1
WHAT DO YOU SEE? |  | IMAGE CODE | TRUE | SPLIT-JOIN Fn. | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ).
[5 empty] | Cause 1 | Cause 2 | Cause 3 | Cause 4 | Cause 5 | Cause 6 | Cause 7 | Cause 8 | Cause 9 | Cause 10 | Cause 11 | Cause 12 | Cause 13 | Cause 14 | Cause 15 | Cause 16 | Cause 17 | Cause 18 | Cause 19 | Cause 20 | Cause 21 | Cause 22 | Cause 23 | Cause 24 | Cause 25 | Cause 26 | Cause 27 | Cause 28 | Cause 29 | Cause 30 | Cause 31 | Cause 32 | Cause 33 | Cause 34 | Cause 35 | Cause 36 | Cause 37 | Cause 38 | Cause 39 | Cause 40 | Cause 41 | Cause 42 | Cause 43
1 | CLOUDY WATER : Effluent looks cloudy or turbid, carrying suspended solids over the weirs. |  | TRUE | Hydraulic Overload,Organic Overload,Equipment Malfunction,Low RAS flow,Excess FOGs,Denitrification,Septicity,Filamentous Bulking,Non-Filamentous Bulking,Dispersed Growth,Short-Circuiting,Overaeration,Low DO,Toxic upset,High Influent COD,Process Startup,Abnormal pH,Abnormal Temperature,Low Coagulant Dosing,Low Polymer Dosing,High H2O2 Dosing,High Chlorine Dosing,Influent Changes | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Hydraulic Overload; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Organic Overload; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Equipment Malfunction; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4: Low RAS flow; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5: Excess FOGs; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 6: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 7: Septicity; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 8: Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 9: Non-Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 10: Dispersed Growth; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 11: Short-Circuiting; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 12: Overaeration; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 13: Low DO; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 14: Toxic upset; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 15: High Influent COD; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 16: Process Startup; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 17: Abnormal pH; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 18: Abnormal Temperature; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 19: Low Coagulant Dosing; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 20: Low Polymer Dosing; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 21: High H2O2 Dosing; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 22: High Chlorine Dosing; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 23: Influent Changes
2 | SLUDGE, ISOLATED : Islands or localized clouds of sludge solids rising in some ares of the clarifier (BLANKET WASHOUT) |  | TRUE | Hydraulic Overload,Organic Overload,Equipment Malfunction,Low RAS flow,Denitrification,Septicity,Filamentous Bulking,Non-Filamentous Bulking,Dispersed Growth,Short-Circuiting,Overaeration,Low Polymer Dosing,Influent Changes | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Hydraulic Overload; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Organic Overload; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Equipment Malfunction; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4: Low RAS flow; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 6: Septicity; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 7: Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 8: Non-Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 9: Dispersed Growth; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 10: Short-Circuiting; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 11: Overaeration; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 12: Low Polymer Dosing; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 13: Influent Changes
3 | SLUDGE, WIDESPREAD : Clouds of billowing sludge rising and present throughtout the clarifier. (BULKING) |  | TRUE | Filamentous Bulking,Non-Filamentous Bulking,Dispersed Growth,High Chlorine Dosing | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Non-Filamentous Bulking; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Dispersed Growth; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4: High Chlorine Dosing
4 | SLUDGE, CLUMPS : Sludge clumping to sizes as large as golf balls or basketballs, rising and spreading everywhere on clarifier surface. Bubbles on clarifier surface. |  | TRUE | Denitrification,Septicity | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Septicity
5 | ASHING : Small particles like ash or pumice, float on the clarifier surface. |  | TRUE | Very low F:M,Very High MCRT,Denitrification,Excess FOGs,Sludge Dewatering Inefficiency | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Very low F:M; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Very High MCRT; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4: Excess FOGs; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5: Sludge Dewatering Inefficiency
6 | POP-UPs : Light Brown / Brown, Solids fall under Scum Baffle, then rise again. |  | TRUE | Denitrification | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Denitrification
7 | POP-UPs : Very Dark / Black-ish |  | TRUE | Denitrification,Septicity,Influent Changes | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Septicity; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Influent Changes
8 | BUBBLES : Behind rake arm, scum baffles, clarifier edges. Especially during peak loading. |  | TRUE | Denitrification | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Denitrification
9 | SOUND : Popping Sound when bubbles hosed down. |  | TRUE | Denitrification | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Denitrification
10 | ODOR : Strong smell of rotten eggs or rotten cabbages. |  | TRUE | Septicity | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Septicity
11 | COLOR : Very Dark / Black-ish color of sludge or effluent. |  | TRUE | Septicity,Influent Changes | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Septicity; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Influent Changes
12 | OIL & GREASE : Excess Fats, Oils or Grease (FOGs) on the Clarifier Surface. |  | TRUE | Excess FOGs | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Excess FOGs
13 | FOAM / SCUM : White / Gray, Stiff & Billowy, Rainbow reflection in sunlight |  | TRUE | Foam - White/ Grey/ Thick | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Foam - White/ Grey/ Thick
14 | FOAM / SCUM : White / Gray, Thin & Frothy, Crisp, Soap-suds like |  | TRUE | Foam - White/ Grey/ Thin | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Foam - White/ Grey/ Thin
15 | FOAM / SCUM : White / Grey, Viscous / Slimy / Pasty / Greasy |  | TRUE | Foam - White/ Grey/ Slimy | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Foam - White/ Grey/ Slimy
16 | FOAM / SCUM : Brown / Dark Tan, Thick, Stable, Shiny, Greasy |  | TRUE | Foam - Brown/ Dark/ Thick | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Foam - Brown/ Dark/ Thick
17 | FOAM / SCUM : Blackish / Very Dark, Thick |  | TRUE | Foam - Black/ Very Dark/ Thick | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Foam - Black/ Very Dark/ Thick
18 | FLOCS : Pin Flocs, Dark, Tiny, Pinpointed, extend throughout clarifier with little islands of sludge on the surface, discharging over weirs. |  | TRUE | Pin Flocs | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Pin Flocs
19 | ASHING : Small particles like ash or pumice, float on the clarifier surface. |  | TRUE | Very low F:M,Very High MCRT,Denitrification,Excess FOGs,Sludge Dewatering Inefficiency | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Very low F:M; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Very High MCRT; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Denitrification; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4: Excess FOGs; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5: Sludge Dewatering Inefficiency
20 | FLOCS : Stragglers, Large / Small, Fluffy, Light particles |  | TRUE | Straggler Flocs | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Straggler Flocs
21 | FLOCS : Dispersed Cells, Very Tiny |  | TRUE | Dispersed Growth | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Dispersed Growth
22 | MECHANICS : RAS Mechanism / Rake Arm / Scraper / Skimmer moving slowly or abnormally |  | TRUE | Equipment Malfunction | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Equipment Malfunction
23 | TURBULENCE : Excess Turbulence on Clarifier Surface |  | TRUE | Equipment Malfunction,Hydraulic Overload,Short-Circuiting | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Equipment Malfunction; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2: Hydraulic Overload; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3: Short-Circuiting
24 | RAINSTORM : Current or recent rain event causing solids to wash off |  | TRUE | Rain | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Rain
25 | WIND : Current or recent strong winds causing solids to wash off |  | TRUE | Wind | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1: Wind
| BACK | TOTAL > |  |  | Hydraulic Overload | Organic Overload | Equipment Malfunction | Low RAS flow | Excess FOGs | Denitrification | Septicity | Filamentous Bulking | Non-Filamentous Bulking | Dispersed Growth | Short-Circuiting | Overaeration | Low DO | Toxic upset | High Influent COD | Process Startup | Abnormal pH | Abnormal Temperature | Low Coagulant Dosing | Low Polymer Dosing | High H2O2 Dosing | High Chlorine Dosing | Influent Changes | Very low F:M | Very High MCRT | Sludge Dewatering Inefficiency | Foam - White/ Grey/ Thick | Foam - White/ Grey/ Thin | Foam - White/ Grey/ Slimy | Foam - Brown/ Dark/ Thick | Foam - Black/ Very Dark/ Thick | Pin Flocs | Straggler Flocs | Rain | Wind
| NEXT |  |  |  | 3 | 2 | 4 | 2 | 4 | 9 | 6 | 3 | 3 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 4 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  | PRIORITY > |  |  | Denitrification | Septicity | Equipment Malfunction | Excess FOGs | Dispersed Growth | Influent Changes | Hydraulic Overload | Filamentous Bulking | Non-Filamentous Bulking | Short-Circuiting | Organic Overload | Low RAS flow | Overaeration | Low Polymer Dosing | High Chlorine Dosing | Very low F:M | Low DO | Toxic upset | High Influent COD | Process Startup | Abnormal pH | Abnormal Temperature | Low Coagulant Dosing | High H2O2 Dosing | Very High MCRT | Sludge Dewatering Inefficiency | Foam - White/ Grey/ Thick | Foam - White/ Grey/ Thin | Foam - White/ Grey/ Slimy | Foam - Brown/ Dark/ Thick | Foam - Black/ Very Dark/ Thick | Pin Flocs | Straggler Flocs | Rain | Wind
[5 empty] | 9 | 6 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Obsv 2
WHAT DO YOU SEE? |  | IMAGE CODE | TRUE | SPLIT-JOIN Fn. | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ).
[5 empty] | Cause 1 | Cause 2 | Cause 3 | Cause 4 | Cause 5 | Cause 6 | Cause 7 | Cause 8 | Cause 9 | Cause 10 | Cause 11 | Cause 12 | Cause 13 | Cause 14 | Cause 15 | Cause 16 | Cause 17 | Cause 18 | Cause 19 | Cause 20 | Cause 21 | Cause 22 | Cause 23 | Cause 24 | Cause 25 | Cause 26 | Cause 27 | Cause 28 | Cause 29 | Cause 30 | Cause 31 | Cause 32 | Cause 33 | Cause 34 | Cause 35 | Cause 36 | Cause 37 | Cause 38 | Cause 39 | Cause 40 | Cause 41 | Cause 42 | Cause 43
1 | CLOUDY WATER : Effluent looks cloudy or turbid, carrying suspended solids over the weirs. |  |  |  | HO | OO | EQ | RS | OG | DN | SP | FB | SB | DP | SC | OA | DO | TX | OD | PS | PH | TM | CG | PD | HD | CD | IF
2 | SLUDGE, ISOLATED : Islands or localized clouds of sludge solids rising in some ares of the clarifier (BLANKET WASHOUT) |  |  |  | HO | OO | EQ | RS | DN | SP | FB | SB | DP | SC | OA | PD | IF
3 | SLUDGE, WIDESPREAD : Clouds of billowing sludge rising and present throughtout the clarifier. (BULKING) |  |  |  | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO: FB; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO: SB; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3 EQ EQ: DP; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4 RS RS: CD
4 | SLUDGE, CLUMPS : Sludge clumping to sizes as large as golf balls or basketballs, rising and spreading everywhere on clarifier surface. Bubbles on clarifier surface. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO to User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO
5 | ASHING : Small particles like ash or pumice, float on the clarifier surface. |  |  |  | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO: FM; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO: SA; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3 EQ EQ: DN; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4 RS RS: OG; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5 OG DN: SW
6 | POP-UPs : Light Brown / Brown, Solids fall under Scum Baffle, then rise again. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
7 | POP-UPs : Very Dark / Black-ish |  |  |  | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO: DN; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO: SP; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3 EQ EQ: IF
8 | BUBBLES : Behind rake arm, scum baffles, clarifier edges. Especially during peak loading. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
9 | SOUND : Popping Sound when bubbles hosed down. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
10 | ODOR : Strong smell of rotten eggs or rotten cabbages. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
11 | COLOR : Very Dark / Black-ish color of sludge or effluent. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO to User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO
12 | OIL & GREASE : Excess Fats, Oils or Grease (FOGs) on the Clarifier Surface. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
13 | FOAM / SCUM : White / Gray, Stiff & Billowy, Rainbow reflection in sunlight | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
14 | FOAM / SCUM : White / Gray, Thin & Frothy, Crisp, Soap-suds like | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
15 | FOAM / SCUM : White / Grey, Viscous / Slimy / Pasty / Greasy | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
16 | FOAM / SCUM : Brown / Dark Tan, Thick, Stable, Shiny, Greasy | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
17 | FOAM / SCUM : Blackish / Very Dark, Thick | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
18 | FLOCS : Pin Flocs, Dark, Tiny, Pinpointed, extend throughout clarifier with little islands of sludge on the surface, discharging over weirs. | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
19 | ASHING : Small particles like ash or pumice, float on the clarifier surface. |  |  |  | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO: FM; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO: SA; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3 EQ EQ: DN; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 4 RS RS: OG; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 5 OG DN: SW
20 | FLOCS : Stragglers, Large / Small, Fluffy, Light particles | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
21 | FLOCS : Dispersed Cells, Very Tiny | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
22 | MECHANICS : RAS Mechanism / Rake Arm / Scraper / Skimmer moving slowly or abnormally | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
23 | TURBULENCE : Excess Turbulence on Clarifier Surface |  |  |  | User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO: EQ; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 2 OO OO: HO; User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 3 EQ EQ: SC
24 | RAINSTORM : Current or recent rain event causing solids to wash off | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
25 | WIND : Current or recent strong winds causing solids to wash off | bar: User selects observations and enters test results. Final evaluator (CPU) directs flow based on Total Score (Σ). Cause 1 HO HO
| BACK | TOTAL > |  |  | HO | OO | EQ | RS | OG | DN | SP | FB | SB | DP | SC | OA | DO | TX | OD | PS | PH | TM | CG | PD | HD | CD | IF |  | FM | SA | SW | WH | WN | WP | BH | BL | PF | SF | RN | WD
| NEXT |  |  |  | 1 | 2 | 4 | 2 | 4 | 9 | 6 | 3 | 3 | 4 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 2 | 4 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| CODE : | PRIORITY > |  |  | DN | SP | EQ | OG | DP | IF | FB | SB | SC | OO | RS | OA | PD | CD | HO | DO | TX | OD | PS | PH | TM | CG | HD | FM | SA | SW | WH | WN | WP | BH | BL | PF | SF | RN | WD
| DN¦SP¦EQ¦OG¦DP¦IF¦FB¦SB¦SC¦OO¦RS¦OA¦PD¦CD¦HO¦DO¦TX¦OD¦PS¦PH¦TM¦CG¦HD¦FM¦SA¦SW¦WH¦WN¦WP¦BH¦BL¦PF¦SF¦RN¦WD |  |  |  | 9 | 6 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1

## Tests 1
# | CAUSE | CODE |  | TESTS (Purpose : To further confirm causes behind observations)
1 | Denitrification | DN | 1 | Test for Nitrate | ORP measurement | DO measurement | Settleometer Test | pH measurement | Alkalinity measurement | BOD5 measurement
2 | Septicity | SP | 1 | Test for Organic Acids | Test for H2S | ORP measurement | DO measurement | Microscopic Evaluation
3 | Equipment Malfunction | EQ | 1
4 | Excess FOGs | OG | 1 | Grease analysis - EPA 1664A
5 | Dispersed Growth | DP | 1 | SOUR / OUR | Microscopic Evaluation
6 | Hydraulic Overload | HO | 1
7 | Filamentous Bulking | FB | 1 | Settleometer Test | Microscopic Evaluation
8 | Non-Filamentous Bulking | SB | 1 | Settleometer Test | Microscopic Evaluation
9 | Short-Circuiting | SC | 1 | Settleometer test | Temperature measurement
10 | Organic Overload | OO | 1 | Core Sampler (Sludge Judge) | Settleometer test
11 | Low RAS flow | RS | 1 | Core Sampler (Sludge Judge)
12 | Low Polymer Dosing | PD | 1
13 | High Chlorine Dosing | CD | 1 | SOUR / OUR | Microscopic Evaluation
14 | Influent Changes | IF | 1 | SOUR / OUR | Microscopic Evaluation | pH measurement | Temperature measurement
15 | Very low F:M | FM | 1 | BOD5 & TSS measurement
16 | Very High MCRT | SA | 1 | BOD5 & TSS measurement
17 | Sludge Dewatering Inefficiency | SW | 1 | TSS measurement
18 | Overaeration | OA | 1 | DO measurement | Microscopic Evaluation
19 | Low DO | DO | 1 | DO measurement | Microscopic Evaluation
20 | Toxic upset | TX | 1 | SOUR / OUR | Microscopic Evaluation
21 | High Influent COD | OD | 1 | BOD5 measurement
22 | Process Startup | PS | 1 | SOUR / OUR | Microscopic Evaluation
23 | Abnormal pH | PH | 1 | pH measurement
24 | Abnormal Temperature | TM | 1 | Temperature measurement
25 | Low Coagulant Dosing | CG | 1
26 | High H2O2 Dosing | HD | 1 | SOUR / OUR | Microscopic Evaluation
27 | Foam - White/ Grey/ Thick | WH | 1 | Microscopic Evaluation | BOD5 & TSS measurement | Settleometer test | Settleometer test
28 | Foam - White/ Grey/ Thin | WN | 1 | Microscopic Evaluation | BOD5 & TSS measurement | Settleometer test
29 | Foam - White/ Grey/ Slimy | WP | 1 | Microscopic Evaluation | India Ink Test | Anthrone Test | BOD5 & TSS measurement | Settleometer test | Settleometer test
30 | Foam - Brown/ Dark/ Thick | BH | 1 | Microscopic Evaluation | BOD5 & TSS measurement | Settleometer test | DO measurement | ORP measurement | India Ink Test | pH measurement | Temperature measurement
31 | Foam - Black/ Very Dark/ Thick | BL | 1 | Microscopic Evaluation | Test for Organic Acids | Test for H2S | DO measurement | ORP measurement | Settleometer test
32 | Pin Flocs | PF | 1 | Microscopic Evaluation | BOD5 & TSS measurement | Settleometer test | Test for Nitrate | ORP measurement | DO measurement | Settleometer Test
33 | Straggler Flocs | SF | 1 | Microscopic Evaluation | BOD5 & TSS measurement | Settleometer test | DO measurement | ORP measurement | India Ink Test | pH measurement | Temperature measurement
34 | Rain | RN | 1
35 | Wind | WD | 1

## Tests 2
# | TEST | CODE
1 | BOD5 measurement | T1
2 | TSS measurement | T2
3 | BOD5 & TSS measurement | T3
4 | DO measurement | T4
5 | ORP measurement | T5
6 | pH measurement | T6
7 | Alkalinity measurement | T7
8 | Temperature measurement | T8
9 | Test for Nitrate | T9
10 | Test for Organic Acids | T10
11 | Test for H2S | T11
12 | Grease analysis - EPA 1664A | T12
13 | SOUR / OUR | T13
14 | Microscopic Evaluation | T14
15 | India Ink Test | T15
16 | Anthrone Test | T16
17 | Settleometer test | T17
18 | Core Sampler (Sludge Judge) | T18

## Tests 3
# | CAUSE | CODE |  | JOIN | TEST CODES
1 | Denitrification | DN | 1 | T9,T5,T4,T17,T6,T7,T1 | T9 | T5 | T4 | T17 | T6 | T7 | T1
2 | Septicity | SP | 1 | T10,T11,T5,T4,T14 | T10 | T11 | T5 | T4 | T14
3 | Equipment Malfunction | EQ | 1
4 | Excess FOGs | OG | 1 | T12 | T12
5 | Dispersed Growth | DP | 1 | T13,T14 | T13 | T14
6 | Hydraulic Overload | HO | 1
7 | Filamentous Bulking | FB | 1 | T17,T14 | T17 | T14
8 | Non-Filamentous Bulking | SB | 1 | T17,T14 | T17 | T14
9 | Short-Circuiting | SC | 1 | T17,T8 | T17 | T8
10 | Organic Overload | OO | 1 | T18,T17 | T18 | T17
11 | Low RAS flow | RS | 1 | T18 | T18
12 | Low Polymer Dosing | PD | 1
13 | High Chlorine Dosing | CD | 1 | T13,T14 | T13 | T14
14 | Influent Changes | IF | 1 | T13,T14,T6,T8 | T13 | T14 | T6 | T8
15 | Very low F:M | FM | 1 | T3 | T3
16 | Very High MCRT | SA | 1 | T3 | T3
17 | Sludge Dewatering Inefficiency | SW | 1 | T2 | T2
18 | Overaeration | OA | 1 | T4,T14 | T4 | T14
19 | Low DO | DO | 1 | T4,T14 | T4 | T14
20 | Toxic upset | TX | 1 | T13,T14 | T13 | T14
21 | High Influent COD | OD | 1 | T1 | T1
22 | Process Startup | PS | 1 | T13,T14 | T13 | T14
23 | Abnormal pH | PH | 1 | T6 | T6
24 | Abnormal Temperature | TM | 1 | T8 | T8
25 | Low Coagulant Dosing | CG | 1
26 | High H2O2 Dosing | HD | 1 | T13,T14 | T13 | T14
27 | Foam - White/ Grey/ Thick | WH | 1 | T14,T3,T17,T17 | T14 | T3 | T17 | T17
28 | Foam - White/ Grey/ Thin | WN | 1 | T14,T3,T17 | T14 | T3 | T17
29 | Foam - White/ Grey/ Slimy | WP | 1 | T14,T15,T16,T3,T17,T17 | T14 | T15 | T16 | T3 | T17 | T17
30 | Foam - Brown/ Dark/ Thick | BH | 1 | T14,T3,T17,T4,T5,T15,T6,T8 | T14 | T3 | T17 | T4 | T5 | T15 | T6 | T8
31 | Foam - Black/ Very Dark/ Thick | BL | 1 | T14,T10,T11,T4,T5,T17 | T14 | T10 | T11 | T4 | T5 | T17
32 | Pin Flocs | PF | 1 | T14,T3,T17,T9,T5,T4,T17 | T14 | T3 | T17 | T9 | T5 | T4 | T17
33 | Straggler Flocs | SF | 1 | T14,T3,T17,T4,T5,T15,T6,T8 | T14 | T3 | T17 | T4 | T5 | T15 | T6 | T8
34 | Rain | RN | 1
35 | Wind | WD | 1

## Tests 4
| TOTAL > |  | T9 | T5 | T4 | T17 | T6 | T7 | T1 | T10 | T11 | T14 |  | T12 | T13 | T8 | T18 | T3 | T2 | T15 | T16
|  |  | 2 | 6 | 8 | 15 | 5 | 1 | 2 | 2 | 2 | 18 |  | 1 | 6 | 5 | 2 | 8
| PRIORITY > |  | T14 | T17 | T4 | T3 | T5 | T13 | T6 | T8 | T9 | T1 | T10 | T11 | T18 | T7 | T12
|  |  | 18 | 15 | 8 | 8 | 6 | 6 | 5 | 5 | 2 | 2 | 2 | 2 | 2 | 1 | 1
# | CAUSE CODE | SPLIT | TEST CODES
1 | DN | T9,T5,T4,T17,T6,T7,T1 | T9 | T5 | T4 | T17 | T6 | T7 | T1
2 | SP | T10,T11,T5,T4,T14 | T10 | T11 | T5 | T4 | T14
3 | EQ
4 | OG | T12 | T12
5 | DP | T13,T14 | T13 | T14
6 | IF | T13,T14,T6,T8 | T13 | T14 | T6 | T8
7 | FB | T17,T14 | T17 | T14
8 | SB | T17,T14 | T17 | T14
9 | SC | T17,T8 | T17 | T8
10 | OO | T18,T17 | T18 | T17
11 | RS | T18 | T18
12 | OA | T4,T14 | T4 | T14
13 | PD
14 | CD | T13,T14 | T13 | T14
15 | HO
16 | DO | T4,T14 | T4 | T14
17 | TX | T13,T14 | T13 | T14
18 | OD | T1 | T1
19 | PS | T13,T14 | T13 | T14
20 | PH | T6 | T6
21 | TM | T8 | T8
22 | CG
23 | HD | T13,T14 | T13 | T14
24 | FM | T3 | T3
25 | SA | T3 | T3
26 | SW | T2 | T2
27 | WH | T14,T3,T17,T17 | T14 | T3 | T17 | T17
28 | WN | T14,T3,T17 | T14 | T3 | T17
29 | WP | T14,T15,T16,T3,T17,T17 | T14 | T15 | T16 | T3 | T17 | T17
30 | BH | T14,T3,T17,T4,T5,T15,T6,T8 | T14 | T3 | T17 | T4 | T5 | T15 | T6 | T8
31 | BL | T14,T10,T11,T4,T5,T17 | T14 | T10 | T11 | T4 | T5 | T17
32 | PF | T14,T3,T17,T9,T5,T4,T17 | T14 | T3 | T17 | T9 | T5 | T4 | T17
33 | SF | T14,T3,T17,T4,T5,T15,T6,T8 | T14 | T3 | T17 | T4 | T5 | T15 | T6 | T8
34 | RN
35 | WD

## Test 5
Here is a list of tests recommended, based on your inputs.
Do you perform the following tests? Answer Yes / No
CODE | # | Recommended Test | Do you do this test? | LOGIC jumps to 'TESTING' module
|  |  |  | Test to Include | Test Sequence
T14 | 1 | Microscopic Evaluation | Yes | T14 | T14¦T17¦T5¦T13¦T6
T17 | 2 | Settleometer test | Yes | T17
T4 | 3 | DO measurement
T3 | 4 | BOD5 & TSS measurement
T5 | 5 | ORP measurement | Yes | T5
T13 | 6 | SOUR / OUR | Yes | T13
T6 | 7 | pH measurement | Yes | T6
T8 | 8 | Temperature measurement
T9 | 9 | Test for Nitrate
T1 | 10 | BOD5 measurement
T10 | 11 | Test for Organic Acids
T11 | 12 | Test for H2S
T18 | 13 | Core Sampler (Sludge Judge)
T7 | 14 | Alkalinity measurement
T12 | 15 | Grease analysis - EPA 1664A

## Solve 1
# | CAUSE | CODE |  | TROUBLESHOOTING (Rationale)
1 | Denitrification | DN | 1 | Data : pH, Temp, NH3-N dosing, HLR, OLR, HRT, SDT (AB), SOR, WOR, SLR, HRT, SDT (SC), SRT, MCRT, RAS, WAS - Typical | Too much Nitrate | Too much time, so increase RAS, WAS | Too little oxygen | Too much carbon
2 | Septicity | SP | 1
3 | Equipment Malfunction | EQ | 1
4 | Excess FOGs | OG | 1
5 | Dispersed Growth | DP | 1
6 | Hydraulic Overload | HO | 1
7 | Filamentous Bulking | FB | 1
8 | Non-Filamentous Bulking | SB | 1
9 | Short-Circuiting | SC | 1
10 | Organic Overload | OO | 1
11 | Low RAS flow | RS | 1
12 | Low Polymer Dosing | PD | 1
13 | High Chlorine Dosing | CD | 1
14 | Influent Changes | IF | 1
15 | Very low F:M | FM | 1
16 | Very High MCRT | SA | 1
17 | Sludge Dewatering Inefficiency | SW | 1
18 | Overaeration | OA | 1
19 | Low DO | DO | 1
20 | Toxic upset | TX | 1
21 | High Influent COD | OD | 1
22 | Process Startup | PS | 1
23 | Abnormal pH | PH | 1
24 | Abnormal Temperature | TM | 1
25 | Low Coagulant Dosing | CG | 1
26 | High H2O2 Dosing | HD | 1
27 | Foam - White/ Grey/ Thick | WH | 1
28 | Foam - White/ Grey/ Thin | WN | 1
29 | Foam - White/ Grey/ Slimy | WP | 1
30 | Foam - Brown/ Dark/ Thick | BH | 1
31 | Foam - Black/ Very Dark/ Thick | BL | 1
32 | Pin Flocs | PF | 1
33 | Straggler Flocs | SF | 1
34 | Rain | RN | 1
35 | Wind | WD | 1

## Solve 2
# | CAUSE | CODE |  | TROUBLESHOOTING (Solutions)
1 | Denitrification | DN | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier | Decrease NH3-N dosing | Increase RAS | Increase WAS | Increase DO | Increase H2O2 | Bioaugment (Seeding)
2 | Septicity | SP | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier | Increase RAS | Increase WAS | Increase DO | Pre-Treatment (Chemical)
3 | Equipment Malfunction | EQ | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier
4 | Excess FOGs | OG | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier | Pre-Treatment (Mechanical)
5 | Dispersed Growth | DP | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier | Decrease RAS | Decrease WAS | Decrease Cl dosing
6 | Hydraulic Overload | HO | 1 | Hydraulics : Distribute Flow | O&M - Secondary Clarifier
7 | Filamentous Bulking | FB | 1
8 | Non-Filamentous Bulking | SB | 1
9 | Short-Circuiting | SC | 1
10 | Organic Overload | OO | 1
11 | Low RAS flow | RS | 1
12 | Low Polymer Dosing | PD | 1
13 | High Chlorine Dosing | CD | 1
14 | Influent Changes | IF | 1
15 | Very low F:M | FM | 1
16 | Very High MCRT | SA | 1
17 | Sludge Dewatering Inefficiency | SW | 1
18 | Overaeration | OA | 1
19 | Low DO | DO | 1
20 | Toxic upset | TX | 1
21 | High Influent COD | OD | 1
22 | Process Startup | PS | 1
23 | Abnormal pH | PH | 1
24 | Abnormal Temperature | TM | 1
25 | Low Coagulant Dosing | CG | 1
26 | High H2O2 Dosing | HD | 1
27 | Foam - White/ Grey/ Thick | WH | 1
28 | Foam - White/ Grey/ Thin | WN | 1
29 | Foam - White/ Grey/ Slimy | WP | 1
30 | Foam - Brown/ Dark/ Thick | BH | 1
31 | Foam - Black/ Very Dark/ Thick | BL | 1
32 | Pin Flocs | PF | 1
33 | Straggler Flocs | SF | 1
34 | Rain | RN | 1
35 | Wind | WD | 1

## Solve 3
# | CAUSE | CODE |  | CAUTION (New Problems)
1 | Denitrification | DN | 1 | Increase TN in effluent by not allowing DN | On-Off aeration => Low DO filaments
2 | Septicity | SP | 1
3 | Equipment Malfunction | EQ | 1
4 | Excess FOGs | OG | 1
5 | Dispersed Growth | DP | 1
6 | Hydraulic Overload | HO | 1
7 | Filamentous Bulking | FB | 1
8 | Non-Filamentous Bulking | SB | 1
9 | Short-Circuiting | SC | 1
10 | Organic Overload | OO | 1
11 | Low RAS flow | RS | 1
12 | Low Polymer Dosing | PD | 1
13 | High Chlorine Dosing | CD | 1
14 | Influent Changes | IF | 1
15 | Very low F:M | FM | 1
16 | Very High MCRT | SA | 1
17 | Sludge Dewatering Inefficiency | SW | 1
18 | Overaeration | OA | 1
19 | Low DO | DO | 1
20 | Toxic upset | TX | 1
21 | High Influent COD | OD | 1
22 | Process Startup | PS | 1
23 | Abnormal pH | PH | 1
24 | Abnormal Temperature | TM | 1
25 | Low Coagulant Dosing | CG | 1
26 | High H2O2 Dosing | HD | 1
27 | Foam - White/ Grey/ Thick | WH | 1
28 | Foam - White/ Grey/ Thin | WN | 1
29 | Foam - White/ Grey/ Slimy | WP | 1
30 | Foam - Brown/ Dark/ Thick | BH | 1
31 | Foam - Black/ Very Dark/ Thick | BL | 1
32 | Pin Flocs | PF | 1
33 | Straggler Flocs | SF | 1
34 | Rain | RN | 1
35 | Wind | WD | 1

## Solve 4
Troubleshooting Steps | Code | Excel File(s)
Hydraulics : Distribute Flow | S1 | Flows
Mechanics : O&M (Aeration Basin) | S2a | O&M (Aeration Basin)
Mechanics : O&M (Clarifier) | S2b | O&M (Clarifier)
Mechanics : General | S2c | O&M (General)
Increase RAS | S3i | SVI, RAS
Decrease RAS | S3d | SVI, RAS
Increase WAS | S4i | Design/Target, WAS
Decrease WAS | S4d | Design/Target, WAS
Increase DO | S5i | Aeration
Decrease DO | S5d | Aeration
Increase NH3-N | S6i | Dosing Calc
Decrease NH3-N | S6d | Dosing Calc
Increase Ortho-P | S7i | Dosing Calc
Decrease Ortho-P | S7d | Dosing Calc
Increase Iron | S8i | Dosing Calc
Decrease Iron | S8d | Dosing Calc
Increase Coagulant | S9i | Dosing Calc
Decrease Coagulant | S9d | Dosing Calc
Increase Flocculant (Polymer) | S10i | Dosing Calc
Decrease Flocculant (Polymer) | S10d | Dosing Calc
Increase Chlorine | S11i | Dosing Calc
Decrease Chlorine | S11d | Dosing Calc
Increase H2O2 | S12i | Dosing Calc
Decrease H2O2 | S12d | Dosing Calc
Increase pH | S13i | Dosing Calc
Decrease pH | S13d | Dosing Calc

## Rough 1
BOD or COD | BOD5 Test
MLVSS | Gravimetric | Centrifuge Spin | Suspended Solids meter
F/M Ratio | BOD (All) | MLVSS (All)
DO | pH meter | Aeration Calc
Aeration | Aeration Calc
pH | pH meter
Temperature | Temp meter
Alkalinity | Alkalinity Calc
Nutrient Dosing | Nutrient Calc | Dosing Eq
pH Adjustment | Caustic Calc | Acidic Calc | Dosing Eq
Coag. Dosing | Coag. Calc | Dosing Eq
Polymer Dosing | Polymer Calc | Dosing Eq
Chlorine Dosing | Chlorine Calc | Dosing Eq
SRT / MCRT (t) | SRT Calc (t)
SRT / MCRT (w) | SRT Calc (w)
WAS (srt) | WAS Calc (srt) | WAS Eq
WAS (yield) | WAS Calc (y)
SVI, dSVI, etc. | SVI Calc
RAS (ssc, mb) | RAS Calc | RAS Eq
RAS (spa) | SPA Sheet
HLR
OLR
SLR
SOR
WOR
SDTa
SDTsc
ORP (NO3,SO2)
TKN, TN, NH3
DSS-FSS
Core Sampler
SOUR / OUR
Microscopic ID
Anthrone Test
India Ink Test

## Rough 2
BOD or COD | BOD5 Test
MLVSS | Gravimetric | Centrifuge Spin | Suspended Solids meter
F/M Ratio | BOD (All) | MLVSS (All)
DO | pH meter | Aeration Calc
Aeration | Aeration Calc
pH | pH meter
Temperature | Temp meter
Alkalinity | Alkalinity Calc
Nutrient Dosing | Nutrient Calc | Dosing Eq
pH Adjustment | Caustic Calc | Acidic Calc | Dosing Eq
Coag. Dosing | Coag. Calc | Dosing Eq
Polymer Dosing | Polymer Calc | Dosing Eq
Chlorine Dosing | Chlorine Calc | Dosing Eq
SRT / MCRT (t) | SRT Calc (t)
SRT / MCRT (w) | SRT Calc (w)
WAS (srt) | WAS Calc (srt) | WAS Eq
WAS (yield) | WAS Calc (y)
SVI, dSVI, etc. | SVI Calc
RAS (ssc, mb) | RAS Calc | RAS Eq
RAS (spa) | SPA Sheet
HLR
OLR
SLR
SOR
WOR
SDTa
SDTsc
ORP (NO3,SO4)
TKN, TN, NH3 | Colorimetric | Cd reduction | Nitrate sensor
Org Acid, H2S | Std. Methods - Distillation, pH Tit. | HACH Chemical Co. Test kit
DSS-FSS
Core Sampler
SOUR / OUR
Microscopic ID
Anthrone Test
India Ink Test
Grease Analysis | EPA 1664A