## Sheet1
Enter the Average DO concentration of the wastewater in the Aeration Basin - Outlet end
Sampling Point | Ideal Range | Average DO concentration (mg/L or ppm) | Code
D : Aeration Basin - Outlet end | 2 - 3 mg/L or ppm
Result Combinations (BACKEND)
Sampling Point | Result | Condition | Code
D : Aeration Basin - Outlet end | Very Low DO in Aeration Basin | Input < 1 | R12.1D
D : Aeration Basin - Outlet end | Low DO in Aeration Basin | 1 <= Input < 2 | R12.2D
D : Aeration Basin - Outlet end | Normal DO in Aeration Basin | 2 <= Input <= 2.5 | R12.3D
D : Aeration Basin - Outlet end | High DO in Aeration Basin | 2.5 < Input <= 4 | R12.4D
D : Aeration Basin - Outlet end | Very High DO in Aeration Basin | 4 < Input | R12.5D