## Sheet1
Enter the Average pH reading of the wastewater in the Aeration Basin - Inlet end
Sampling Point | Desirable Range | Average pH in Aeration Basin Mixed Liquor | Code
Aeration Basin - Inet end | 6 - 8
Result Combinations (BACKEND)
Sampling Point | Result | Condition | Code
C : Aeration Basin - Inlet end | Very Low pH in Aeration Basin Mixed Liquor | Input < 5 | R16.1C
C : Aeration Basin - Inlet end | Low pH in Aeration Basin Mixed Liquor | 5 <= Input < 6 | R16.2C
C : Aeration Basin - Inlet end | Normal pH in Aeration Basin Mixed Liquor | 6 <= Input <= 8 | R16.3C
C : Aeration Basin - Inlet end | High pH in Aeration Basin Mixed Liquor | 8 < Input <= 9 | R16.4C
C : Aeration Basin - Inlet end | Very High pH in Aeration Basin Mixed Liquor | Input < 9 | R16.5C