## Sheet1
Enter the Average pH reading of the wastewater in the Secondary Clarifier
Sampling Point | Ideal Range | Average pH in Secondary Clarifier wastewater | Code
Secondary Clarifier - Center Well | 6 - 8
Result Combinations (BACKEND)
Sampling Point | Result | Condition | Code
E : Secondary Clarifier - Center Well | Very Low pH in Secondary Clarifier | Input < 5 | R17.1E
E : Secondary Clarifier - Center Well | Low pH in Secondary Clarifier | 5 <= Input < 6 | R17.2E
E : Secondary Clarifier - Center Well | Normal pH in Secondary Clarifier | 6 <= Input <= 8 | R17.3E
E : Secondary Clarifier - Center Well | High pH in Secondary Clarifier | 8 < Input <= 9 | R17.4E
E : Secondary Clarifier - Center Well | Very High pH in Secondary Clarifier | Input < 9 | R17.5E