## Sheet1
Enter the Average concentration of Fats, Oils, Grease (FOGs) of the wastewater in Aeration Basin - Inlet end
Sampling Point | Ideal Range | Average FOGs concentration in Aeration Basin effluent (mg/L or ppm) | Code
Aeration Basin - Inlet end | < 25 mg/L or ppm
Result Combinations (BACKEND)
Sampling Point | Result | Condition | Code
C : Aeration Basin - Inlet end | Very Low Fats, Oils, Grease (FOGs) in Aeration Basin Mixed Liquor | Input < 10 | R19.1C
C : Aeration Basin - Inlet end | Low Fats, Oils, Grease (FOGs) in Aeration Basin Mixed Liquor | 10 <= Input < 25 | R19.2C
C : Aeration Basin - Inlet end | Normal Fats, Oils, Grease (FOGs) in Aeration Basin Mixed Liquor | 25 <= Input <= 50 | R19.3C
C : Aeration Basin - Inlet end | High Fats, Oils, Grease (FOGs) in Aeration Basin Mixed Liquor | 50 < Input <= 100 | R19.4C
C : Aeration Basin - Inlet end | Very High Fats, Oils, Grease (FOGs) in Aeration Basin Mixed Liquor | 100 < Input | R19.5C