## Sheet1
Enter the avg Total Inorganic Nitrogen (TIN) concentration of the wastewater in the Aeration Basin - Outlet end
Sampling Point | Ideal Range | TIN concentration in Aeration Basin outlend end or effluent (mg/L or ppm) | Code
Aeration Basin - Outlet end | 1-2 mg/L or ppm
Result Combinations (BACKEND)
Sampling Point | Result | Condition | Code
D : Aeration Basin - Outlet end | Excess Nitrogen: Total Inorganic Nitrogen (TIN) concentration in Aeration Basin effluent > 1-2 mg/L or ppm or ppm | Input > 2 | R20.1D
D : Aeration Basin - Outlet end | No Nitrogen Deficiency: Total Inorganic Nitrogen (TIN) concentration in Aeration Basin effluent = 1-2 mg/L or ppm or ppm | 1 <= Input <= 2 | R20.2D
D : Aeration Basin - Outlet end | Nitrogen Deficiency: Total Inorganic Nitrogen (TIN) concentration in Aeration Basin effluent < 1-2 mg/L or ppm or ppm | Input < 1 | R20.3D