## Loadings
THUMB RULES
5 or 7 day moving avg
Nitrification is best at low organic loading and low F:M (< 0.25).
In-plant return flows, such as from solids handling processes are usually high in soluble BOD and ammonia and can cause loss of nitrification or exceed nitrification capability if not carefully controlled. It is important that these high- strength wastes are returned through the plant slowly, in low quantity, and at times when loading on the system is at its lowest.
In plants with long aeration basin hydraulic residence times (industrial waste plants), the daily solids flux in the RAS line is generally too low for successful bulking control using chlorine at this pointalone. Here,mostsuccesshasbeenachievedusingmultiplechlorineadditionpointssuch as the RAS line(s) and the final clarifier(s) in combination.
An activated sludge process where the contents of the entire aeration tank are rapidly mixed to provide a uniform distribution of food (biochemical oxygen demand (BOD)), microorganisms, and dissolved oxygen (DO) (see figure 1.3.3.3). An advantage is the ability to handle surges in loading. This process is used when a high quality effluent is not required. Complete mix is most commonly used in industrial activated sludge plants.
When wastewater treatment plants are newly
constructed the organic load is usually lower than design and aeration capability greatly
exceeds demand. This results in an excess of D.O. in the aerobic stage that impairs the
ability to achieve anoxic conditions where necessary.

## Detention Time
For NItrification : > 5 hrs | > 5 hrs