Read Me for key understanding (Concept, Action steps for O&M)

Bioaugmentation

This page tells you all you need to know about Bioaugmentation within your facility.

- What is Bioaugmentation?

Bioaugmentation is a way to supplement your mixed liquor with more bugs, if the organic loading is too much or there's a process upset. This improves settleability and treatment efficiency. Bioaugmentation can also involve the addition of food in the form of organic substrate of missing nutrients.

- What are the benefits of Bioaugmentation?

- Enhanced BOD removal

- Improved settling of solids

- Improved nitrification

- Preferential degradation of specific compounds

- Rapid process start-up

- Potential odor reduction, resistance to toxic shock, oil & grease removal

- How do you carry out Bioaugmentation?

There are two ways to compute the bioaugmentation requirement that are specified below.

- For more urgent needs, the dosage recommended is in the range of 1-10 mg/L. If an introductory dose is used, the dosage is usually ≥ 2 ppm up to 4 ppm or more and may be applied for 2-4 days before reducing the dosage rate. The worse the conditions, the higher the starting dosage rate.

- If your treatment goal is less urgent, and just to improve the health and viability of your bugs, use a dosage of 1-2 ppm.

- The next page features a Bioaugmentation calculator which computes the amount of bugs or solids to be added based on your MLVSS concentration and wastewater flow received.

- Note :

  - You might also have to increase sludge wasting as you supply more bugs to the liquor.

  - Do not use dog food for bioaugmentation.